## Prelim Calc
Implementaion Strategy
Preliminary Calculations, Analysis |  |  | Enter
Calc
Measure Overange Range
Vrange | 4 | 20
Overange (%) | 20 | 20
Vrange' | 4.8 | 24
LP Filter
Choose filter bandwidth
fc (-3db) | 6 | for a 10x reduction of 60Hz noise, choose fc = 60Hz / 10 = 6Hz
Time Constant
Tau1 (s) | 0.026526 | 1/(2*pi*fc)
Settling time
ts 1% (s) | 0.12216 | -ln(0.01) / ln( e ) * Tau
ts 0.1% (s) | 0.18323 | -ln(0.001) / ln( e ) * Tau
ADC
Resolution
Vref | 5
Nbits | 10
Ncounts | 1024 | 2^N
Vres (V/LSB) | 0.0048828 | 1 / Ncounts * Vref
Errors
Offset Err (LSBs) | 2
Voff_err (V) | 0.0097656 | Offset / Ncounts * Vref
Gain Err (LSBs) | 2
K_err (%) | 0.19531 | Gain / Ncounts*100%
System - Offset and Gain Error
Range (V) | 4 | Lo voltage range
Voffset (V) | 0.05 | offset error
Kerr (%) | 5 | gain error
Vin (V) | 1.1 | low charge reading for 1.5V battery
Verr (V) | 0.105 | Error = Voffset + Vin*Kerr/100
Range (V) | 20 | Hi voltage range
Voffset (V) | 0.25 | offset error
Kerr (%) | 5 | gain error
Vin (V) | 7 | low charge reading for 9V battery
Verr (V) | 0.6 | Error = Voffset + Vin*Kerr/100